| Huawei Check_MK Plug-in |  |  |
| --- | --- | --- |
| User Guide |  |  |
| V2.0.1 |  |  |
| Issue:01 Date:2020-11-23 |  |  |
|  | Copyright © Copyright Holder. All rights reserved. |  |

|  | Notice |  |  |
| --- | --- | --- | --- |
|  | The information in this document is subject to change without notice. Every effort has been made in the preparation of this document to ensure accuracy of the contents, but all statements, information, and recommendations in this document do not constitute the warranty of any kind, express or implied. |  |

Contents

Preface	1

1 Overview	1-1

2 Installing and Uninstalling the Check_MK Plug-in	2-1

2.1 Preparing for the Installation	2-1

2.2 Installing the Check_MK Plug-in	2-2

2.3 Uninstalling the Check_MK Plug-in	2-2

3 Configuring Huawei Servers	3-1

3.1 Adding a Huawei Server	3-1

3.1.1 Adding a Huawei Server Directly	3-1

3.1.2 Adding a Huawei Server in Folder Mode	3-6

3.2 Editing a Huawei Server	3-11

3.2.1 Editing a Directly Added Huawei Server	3-11

3.2.2 Editing a Huawei Server That Is Added in Folder Mode	3-14

3.3 Deleting a Huawei Server	3-17

3.3.1 Deleting a Directly Added Huawei Server	3-17

3.3.2 Deleting a Huawei Server That Is Added in Folder Mode	3-18

4 Viewing Huawei Server Information	4-1

4.1 Viewing Information of a Directly Added Huawei Server	4-1

4.2 Viewing Information of a Huawei Server That Is Added in Folder Mode	4-3

5 FAQ	5-1

5.1 Connection Timeout Is Displayed When You Click Full scan During HMM Monitoring	5-1

A Getting Help	1

A.1 Collecting Fault Information	1

A.2 Preparing for Debugging	1

A.3 Using Product Documentation	1

A.4 Obtaining Technical Support	1

Preface

Purpose

This document describes how to install and uninstall the Check_MK plug-in, add and delete Huawei servers, and view Huawei server information and status.

Intended Audience

This document is intended for:

Technical support engineers

System maintenance engineers

Symbol Conventions

The symbols that may be found in this document are defined as follows.

| Symbol | Description |
| --- | --- |
|  | Indicates an imminently hazardous situation which, if not avoided, will result in death or serious injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in death or serious injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in minor or moderate injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in equipment damage, data loss, performance deterioration, or unanticipated results. NOTICE is used to address practices not related to personal injury. |
|  | Calls attention to important information, best practices, and tips. NOTE is used to address information not related to personal injury, equipment damage, and environment deterioration. |

Change History

| Issue | Date | Description |
| --- | --- | --- |
| 01 | 2020-11-23 | This issue is the first official release. |

Overview

Function Description

The Check_MK plug-in is a plug-in integrated in the Check_MK software and used for Huawei server management. The plug-in can be used to add Huawei servers and monitor them.

You can implement the following functions by using the Check_MK plug-in:

View the component information of added servers.

View the alarm information of added servers.

Before using the Check_MK plug-in, you need to install the Check_MK 1.6.

Supported Servers

Table 1-1 lists the servers supported by the Check_MK plug-in.

Supported servers

| Type | Model |
| --- | --- |
| Rack server | RH2288H V2 |
|  | RH1288 V3 |
|  | RH2288 V3 |
|  | RH2288H V3 |
|  | RH5885 V3 |
|  | RH8100 V3 |
|  | 1288H V5 |
|  | 2288H V5 |
|  | 2488 V5 |
| Blade server | E9000 |
| High-density server | XH321 V3 |
|  | XH620 V3 |
|  | XH622 V3 |
|  | XH628 V3 |

Installing and Uninstalling the Check_MK Plug-in

2.1  Preparing for the Installation

2.2  Installing the Check_MK Plug-in

2.3  Uninstalling the Check_MK Plug-in

  - Preparing for the Installation

Check whether Check_MK is installed and whether the Check_MK version is 1.6.

Download the Check_MK plug-in software package from the GitHub website and upload it to the Check_MK server.

The Python tool version is Python 2.7.13.

Make sure snmpget and snmpwalk command can run in you host, if not, run the follow command to install them.

yum install net-snmp net-snmp-devel net-snmp-libs net-snmp-utils php-snmp

The following files exist on the Check_MK server:

pysnmp-4.2.4.tar.gz

pyasn1-0.1.6.tar.gz

pycrypto-2.3.tar.gz

Download the pysnmp-4.2.4.tar.gz, pyasn1-0.1.6.tar.gz, and pycrypto-2.3.tar.gz files and upload them to any directory on the Check_MK server, for example, /usr/local) and install the software. The procedure for software installation is as follows:

            - Run the following command to decompress the software package.

tar xzvf $sourcName

For example, If pysnmp-4.2.4.tar.gz is used as an example, run tar xzvf pysnmp-4.2.4.tar.gz.

            - Run the following command to go to the decompression directory.

cd

For example, if pysnmp-4.2.4.tar.gz is used as an example, run cd pysnmp-4.2.4.

            - Run the following commadn to install the software:

python setup.py install

If the system has multiple python versions, run the export PATH=$pythonPath:$PATH command, where $pythonPath indicates the directory where Python 2.7.13 is located.

Installing the Check_MK Plug-in

            - Log in to the Check_MK server as user root.

Go to the path of the Check_MK plug-in software package.

Run the following command to decompress the Check_MK plug-in software package:

tar -xvf Huawei_Check-MK_Plugin_vX.X.tar

Run the following command to install the Check_MK plug-in.

python install.py -i prod

Run the following command to restart the httpd service.

service httpd restart

[root@localhost cmkplugin_latest]# service httpd restart 
Redirecting to /bin/systemctl restart  httpd.service 
[root@localhost cmkplugin_latest]#

The Check_MK plug-in is installed.

----End

Uninstalling the Check_MK Plug-in

            - Log in to the Check_MK server as user root.

Go to the path of the Check_MK plug-in software package.

Run the following command to uninstall the Check_MK plug-in.

python install.py -u prod

Run the following command to restart the httpd service.

service httpd restart

[root@localhost cmkplugin_latest]# service httpd restart 
Redirecting to /bin/systemctl restart  httpd.service 
[root@localhost cmkplugin_latest]#

The Check_MK plug-in is uninstalled.

----End

Configuring Huawei Servers

3.1  Adding a Huawei Server

3.2  Editing a Huawei Server

3.3  Deleting a Huawei Server

  - Adding a Huawei Server

You can add a Huawei server in either of the following ways:

Add a Huawei server directly: Add a single Huawei server.

Add a Huawei server in folder mode: In this mode, you need to create a folder and then add servers to the folder.

    - Adding a Huawei Server Directly

            - Prepare a PC that can ping the Check_MK IP address.

Open the browser on the PC, enter http://Check_MK IP address/prod/ in the address box, and press Enter.

The page for entering the Check_MK user name and password is displayed, as shown in Figure 3-1.

Entering the Check_MK user name and password

Enter the Check_MK user name and password, and click Login.

The Check_MK home page is displayed, as shown in Figure 3-2.

Check_MK home page

On the menu bar on the left, click WATO - CONFIGURATION > Hosts.

The Main directory page is displayed, as shown in Figure 3-3.

Main directory page

Click New host.

The Create new host page is displayed, as shown in Figure 3-4.

Create new host page

Set server parameters.

Click  on the right of a parameter. When  is displayed, you can set the parameter.

In the BASIC SETTINGS area, set Hostname.

In the NETWORK ADDRESS area, set the IP address information.

In the DATA SOURCES area, set SNMP and SNMP Credential based on the actual SNMP version of the server.

Other parameters do not need to be set.

After the settings, click Save & Finish.

The Main directory page is displayed, showing the added server, as shown in Figure 3-5.

Main directory page

----End

Adding a Huawei Server in Folder Mode

            - On the menu bar on the left, click WATO - CONFIGURATION > Hosts.

The Main directory page is displayed, as shown in Figure 3-6.

Main directory page

Click New folder.

The Create new folder page is displayed, as shown in Figure 3-7.

Create new folder

In the BASIC SETTINGS area, set Title, enter the folder name, and click Save & Finish.

The Main directory page is displayed, as shown in Figure 3-8. You can view the new folder.

Main directory

Click the folder created in Step 3.

The folder information page is displayed, as shown in Figure 3-9.

Folder information page

Click New host.

The Create new host page is displayed, as shown in Figure 3-10.

Create new host

Set server parameters.

Click  on the right of a parameter. When  is displayed, you can set the parameter.

In the BASIC SETTINGS area, set Hostname.

In the NETWORK ADDRESS area, set the IP address information.

In the DATA SOURCES area, set SNMP and SNMP Credential based on the actual SNMP version of the server.

Other parameters do not need to be set.

After the settings, click Save & Finish.

The folder information page is displayed, showing the added server, as shown in Figure 3-11.

Folder information page

----End

Editing a Huawei Server

    - Editing a Directly Added Huawei Server

            - On the menu bar on the left, click WATO - CONFIGURATION > Hosts.

The Main directory page is displayed, as shown in Figure 3-12.

Main directory page

Click  in the row that contains the server to be edited, as shown in Figure 3-13.

Editing a server

The page for setting the server is displayed, as shown in Figure 3-14.

Setting the server

Modify server parameters as required and click Save & Finish.

The Main directory page is displayed.

The value of Hostname cannot be changed.

----End

Editing a Huawei Server That Is Added in Folder Mode

Editing a Huawei Server

            - On the menu bar on the left, click WATO - CONFIGURATION > Hosts.

The Main directory page is displayed, as shown in Figure 3-15.

Main directory page

Click the folder where the server is located, for example, rack_server.

The folder information page is displayed, as shown in Figure 3-16.

Folder information page

Click  in the row that contains the server to be edited.

The page for setting the server is displayed, as shown in Figure 3-17.

Setting the server

Modify server parameters as required and click Save & Finish.

The Main directory page is displayed.

The value of Hostname cannot be changed.

----End

Deleting a Huawei Server

    - Deleting a Directly Added Huawei Server

            - On the menu bar on the left, click WATO - CONFIGURATION > Hosts.

The Main directory page is displayed, as shown in Figure 3-18.

Main directory page

Click  in the row that contains the server to be deleted, as shown in Figure 3-19.

Deleting a server

A deletion confirmation dialog box is displayed, as shown in Figure 3-20.

Deletion confirmation dialog box

Click Yes!.

The server is deleted.

On the Main directory page, click  to delete all added servers.

----End

Deleting a Huawei Server That Is Added in Folder Mode

            - On the menu bar on the left, click WATO - CONFIGURATION > Hosts.

The Main directory page is displayed, as shown in Figure 3-21.

Main directory page

Click the folder where the server is located, for example, rack_server.

The folder information page is displayed, as shown in Figure 3-22.

Folder information page

Click  in the row that contains the server to be deleted.

A deletion confirmation dialog box is displayed, as shown in Figure 3-23.

Deletion confirmation dialog box

Click Yes!.

The server is deleted.

On the folder information page, click  to delete all added servers.

----End

Viewing Huawei Server Information

4.1  Viewing Information of a Directly Added Huawei Server

4.2  Viewing Information of a Huawei Server That Is Added in Folder Mode

  - Viewing Information of a Directly Added Huawei Server

            - On the menu bar on the left, click WATO - CONFIGURATION > Hosts.

The Main directory page is displayed, as shown in Figure 4-1.

Main directory page

Click  in the row that contains the server to be viewed, as shown in Figure 4-2.

Viewing server information

The server information page is displayed, as shown in Figure 4-3.

Server information page

View the server information.

On this page, you can view the alarm information, component information, and component status of the server. The supported components include the CPU, fan, drive, memory, PSU, and RAID controller card. The line where WARN is located indicates the alarm information of the server.

----End

Viewing Information of a Huawei Server That Is Added in Folder Mode

            - On the menu bar on the left, click WATO - CONFIGURATION > Hosts.

The Main directory page is displayed, as shown in Figure 4-4.

Main directory page

Click the folder where the server is located, for example, folder01.

The folder information page is displayed, as shown in Figure 4-5.

Folder information page

Click  in the row that contains the server to be viewed, as shown in Figure 4-6.

Viewing server information

The server information page is displayed, as shown in Figure 4-7.

Server information page

View the server information.

On this page, you can view the alarm information, component information, and component status of the server. The supported components include the CPU, fan, drive, memory, PSU, and RAID controller card. The line where WARN is located indicates the alarm information of the server.

----End

FAQ

5.1  Connection Timeout Is Displayed When You Click Full scan During HMM Monitoring

  - Connection Timeout Is Displayed When You Click Full scan During HMM Monitoring

Symptom

When you click Full scan during HMM monitoring, a message is displayed indicating that the connection times out, as shown in the following figure.

Solution

Check each blade node, find the subnode whose SNMP connection is abnormal, and delete the corresponding node scanning script huawei_hmm_mezzX_check.py (X indicates the slot number of the node) in the /opt/omd/sites/prod/local/share/check_mk/checks/ directory.

Getting Help

If you encounter any problems during routine maintenance or troubleshooting, contact Huawei technical support engineers.

  - Collecting Fault Information

Before troubleshooting, obtain the following information:

Customer company and address

Contact person and telephone number

Time when the fault occurred

Detailed fault symptom

Device type and software version

Any measures taken and effects

Fault severity and expected rectification deadline

Preparing for Debugging

When you seek Huawei technical support, Huawei technical support engineers may assist you in performing some operations to further collect fault information or rectify the fault.

Before contacting technical support engineers, prepare the spare parts for boards and port modules, screwdrivers, screws, serial cables, and network cables.

Using Product Documentation

Huawei provides the documents delivered with the equipment. This document provides guidance for you to solve common problems that occur during routine maintenance or troubleshooting.

To better rectify the fault, you are advised to use the guide before contacting Huawei technical support engineers.

Obtaining Technical Support

Huawei's timely and efficient response is available from:

Local branch offices

Secondary technical support system

Telephone support

Remote support

Onsite support

Technical Support Website

Obtain technical documents at Huawei Technical Support website.

Self-Service Platform and Community

Learn more about servers and communicate with experts at:

Computing Product Information Service Platform for specific server product documentation.

Huawei Enterprise iKnow for quick learning about products.

Huawei Enterprise Support Community (Servers) for learning and discussion.

News

For notices about product life cycles, warnings, and updates, visit Support > Bulletins > Product Bulletins.

Cases

Learn about server applications at Computing Case Library.

The Computing Case Library is available only to Huawei partners and Huawei engineers.

Huawei Technical Support

If a fault persists after taking the above measures, obtain technical support in the following ways:

Contact Huawei customer service center.

Enterprise customers

Send emails to support_e@huawei.com or visit Global Service Hotline.

Carriers

Send emails to support@huawei.com or visit Global TAC Information.

Contact technical support at your local Huawei office.